## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 13 March 2025):
14 Mar 2025 | 15 Mar 2025 | 16 Mar 2025 | 17 Mar 2025 | 18 Mar 2025 | 19 Mar 2025 | 20 Mar 2025
560 | 560 | 560 | 1280 | 1280 | 1280 | 1280
Current coal outages
Coal units detected generating no power on 13 March 2025:
Region | Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
NSW
| Bayswater 2 | Existing | 685 | Unplanned | 186 | Unknown | Unknown
| Eraring 3 | Existing | 720 | Planned | 200 | Unknown | Unknown
| Vales Point B 6 | Existing | 660 | Unplanned | 169 | Unknown | Unknown
QLD
| Callide B 1 | Existing | 350 | Unplanned | 238 | Unknown | Unknown
| Callide B 2 | Existing | 350 | Planned | 182 | Unknown | Unknown
| Gladstone 2 | Existing | 280 | Planned | 150 | Unknown | Unknown
| Gladstone 6 | Existing | 280 | Planned | 172 | Unknown | Unknown
| Tarong 2 | Existing | 350 | Planned | 181 | Unknown | Unknown
VIC
| Loy Yang A 2 | Existing | 530 | Unplanned | 154 | Unknown | Unknown
| Loy Yang A 4 | Existing | 560 | Planned | 164 | Unknown | Unknown
| Yallourn W 2 | Existing | 350 | Planned | 154 | Unknown | Unknown
| Total planned | 2890
| Total unplanned | 2225
| Total unclear | 0
| Total outages: | 5115
Returning coal units
Coal units returning to service after being offline on 12 March 2025:
Unit | Nameplate capacity (MW) | Days unit was unavailable