## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 14 March 2025):
15 Mar 2025 | 16 Mar 2025 | 17 Mar 2025 | 18 Mar 2025 | 19 Mar 2025 | 20 Mar 2025 | 21 Mar 2025
560 | 560 | 1280 | 1280 | 1280 | 1280 | 1630
Current coal outages
Coal units detected generating no power on 14 March 2025:
Region | Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
QLD
| Gladstone 4 | New | 280 | Unclear | 1 | 2025-03-16 | 2
| Gladstone 5 | Existing | 280 | Planned | 9 | 2025-03-16 | 2
| Total planned | 280
| Total unplanned | 0
| Total unclear | 280
| Total outages: | 560
Returning coal units
Coal units returning to service after being offline on 13 March 2025:
Unit | Nameplate capacity (MW) | Days unit was unavailable