## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 11 October 2024):
12 Oct 2024 | 13 Oct 2024 | 14 Oct 2024 | 15 Oct 2024 | 16 Oct 2024 | 17 Oct 2024 | 18 Oct 2024
4305 | 4555 | 4025 | 3675 | 3675 | 3675 | 3675
Current coal outages
Coal units detected generating no power on 11 October 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 2 | Existing | 685 | Unplanned | 33 | 2024-12-08 | 58
Callide B 1 | Existing | 350 | Unplanned | 85 | 2024-11-21 | 41
Callide B 2 | Existing | 350 | Planned | 29 | 2024-10-18 | 7
Eraring 3 | Existing | 720 | Planned | 47 | 2024-11-28 | 48
Gladstone 6 | Existing | 280 | Planned | 19 | 2024-10-13 | 2
Loy Yang A 2 | Existing | 530 | Unplanned | 1 | 2024-10-14 | 3
Loy Yang A 4 | Existing | 560 | Planned | 11 | 2024-11-24 | 44
Millmerran 1 | Existing | 426 | Unplanned | 5 | 2024-10-13 | 2
Tarong 2 | Existing | 350 | Planned | 28 | 2024-11-29 | 49
Vales Point B 6 | Existing | 660 | Unplanned | 16 | 2024-11-25 | 45
Yallourn W 2 | Existing | 350 | Planned | 1 | 2024-10-15 | 4
| Total planned | 2610
| Total unplanned | 2651
| Total outages: | 5261
Returning coal units
Coal units returning to service after being offline on 10 October 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable