## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 15 October 2024):
16 Oct 2024 | 17 Oct 2024 | 18 Oct 2024 | 19 Oct 2024 | 20 Oct 2024 | 21 Oct 2024 | 22 Oct 2024
3675 | 3675 | 3675 | 3675 | 4050 | 4050 | 4101
Current coal outages
Coal units detected generating no power on 15 October 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Gladstone 2 | New | 280 | Planned | 1 | 2024-10-20 | 5
Bayswater 2 | Existing | 685 | Unplanned | 37 | 2024-12-08 | 54
Callide B 1 | Existing | 350 | Unplanned | 89 | 2024-11-21 | 37
Callide B 2 | Existing | 350 | Planned | 33 | 2024-10-20 | 5
Eraring 3 | Existing | 720 | Planned | 51 | 2024-11-28 | 44
Gladstone 6 | Existing | 280 | Planned | 23 | 2024-10-20 | 5
Loy Yang A 2 | Existing | 530 | Unplanned | 5 | 2024-10-20 | 5
Loy Yang A 4 | Existing | 560 | Planned | 15 | 2024-11-24 | 40
Tarong 2 | Existing | 350 | Planned | 32 | 2024-11-29 | 45
Vales Point B 6 | Existing | 660 | Unplanned | 20 | 2024-11-25 | 41
Yallourn W 2 | Existing | 350 | Planned | 5 | 2024-10-20 | 5
| Total planned | 2890
| Total unplanned | 2225
| Total outages: | 5115
Returning coal units
Coal units returning to service after being offline on 14 October 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable