## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 16 October 2024):
17 Oct 2024 | 18 Oct 2024 | 19 Oct 2024 | 20 Oct 2024 | 21 Oct 2024 | 22 Oct 2024 | 23 Oct 2024
3675 | 3675 | 3675 | 4750 | 4400 | 4826 | 4756
Current coal outages
Coal units detected generating no power on 16 October 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 2 | Existing | 685 | Unplanned | 38 | 2024-12-08 | 53
Callide B 1 | Existing | 350 | Unplanned | 90 | 2024-11-21 | 36
Callide B 2 | Existing | 350 | Planned | 34 | 2024-10-23 | 7
Eraring 3 | Existing | 720 | Planned | 52 | 2024-11-28 | 43
Gladstone 2 | Existing | 280 | Planned | 2 | 2024-10-20 | 4
Loy Yang A 2 | Existing | 530 | Unplanned | 6 | 2024-10-20 | 4
Loy Yang A 4 | Existing | 560 | Planned | 16 | 2024-11-24 | 39
Tarong 2 | Existing | 350 | Planned | 33 | 2024-11-29 | 44
Vales Point B 6 | Existing | 660 | Unplanned | 21 | 2024-11-25 | 40
Yallourn W 2 | Existing | 350 | Planned | 6 | 2024-10-21 | 5
| Total planned | 2610
| Total unplanned | 2225
| Total outages: | 4835
Returning coal units
Coal units returning to service after being offline on 15 October 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable
Gladstone 6 | 280 | 24