## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 17 October 2024):
18 Oct 2024 | 19 Oct 2024 | 20 Oct 2024 | 21 Oct 2024 | 22 Oct 2024 | 23 Oct 2024 | 24 Oct 2024
3675 | 3675 | 4750 | 4400 | 4400 | 4330 | 3955
Current coal outages
Coal units detected generating no power on 17 October 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Gladstone 5 | New | 280 | Planned | 1 | 2024-10-20 | 3
Yallourn W 4 | New | 375 | Unclear | New outage | 2024-10-24 | 7
Bayswater 2 | Existing | 685 | Unplanned | 39 | 2024-12-08 | 52
Callide B 1 | Existing | 350 | Unplanned | 91 | 2024-11-21 | 35
Callide B 2 | Existing | 350 | Planned | 35 | 2024-10-23 | 6
Eraring 3 | Existing | 720 | Planned | 53 | 2024-11-28 | 42
Gladstone 2 | Existing | 280 | Planned | 3 | 2024-10-20 | 3
Loy Yang A 2 | Existing | 530 | Unplanned | 7 | 2024-10-20 | 3
Loy Yang A 4 | Existing | 560 | Planned | 17 | 2024-11-24 | 38
Tarong 2 | Existing | 350 | Planned | 34 | 2024-11-29 | 43
Vales Point B 6 | Existing | 660 | Unplanned | 22 | 2024-11-25 | 39
Yallourn W 2 | Existing | 350 | Planned | 7 | 2024-10-21 | 4
| Total planned | 2890
| Total unplanned | 2225
| Total outages: | 5490
Returning coal units
Coal units returning to service after being offline on 16 October 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable
Gladstone 6 | 280 | 24
Stanwell 3 | 365 | 1