## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 18 October 2024):
19 Oct 2024 | 20 Oct 2024 | 21 Oct 2024 | 22 Oct 2024 | 23 Oct 2024 | 24 Oct 2024 | 25 Oct 2024
3675 | 4750 | 4400 | 4400 | 4330 | 3955 | 4305
Current coal outages
Coal units detected generating no power on 18 October 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 2 | Existing | 685 | Unplanned | 40 | 2024-12-08 | 51
Callide B 1 | Existing | 350 | Unplanned | 92 | 2024-11-21 | 34
Callide B 2 | Existing | 350 | Unclear | 36 | 2024-10-23 | 5
Eraring 3 | Existing | 720 | Planned | 54 | 2024-11-28 | 41
Gladstone 2 | Existing | 280 | Planned | 4 | 2024-10-20 | 2
Gladstone 5 | Existing | 280 | Planned | 2 | 2024-10-20 | 2
Loy Yang A 4 | Existing | 560 | Planned | 18 | 2024-11-24 | 37
Tarong 2 | Existing | 350 | Planned | 35 | 2024-11-29 | 42
Vales Point B 6 | Existing | 660 | Unplanned | 23 | 2024-11-25 | 38
Yallourn W 2 | Existing | 350 | Planned | 8 | 2024-10-21 | 3
Yallourn W 4 | Existing | 375 | Planned | 1 | 2024-10-24 | 6
| Total planned | 2915
| Total unplanned | 1695
| Total outages: | 4960
Returning coal units
Coal units returning to service after being offline on 17 October 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable
Loy Yang A 2 | 530 | 8