## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 21 October 2024):
22 Oct 2024 | 23 Oct 2024 | 24 Oct 2024 | 25 Oct 2024 | 26 Oct 2024 | 27 Oct 2024 | 28 Oct 2024
4400 | 4330 | 3955 | 4305 | 4305 | 4305 | 4305
Current coal outages
Coal units detected generating no power on 21 October 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Mt Piper 2 | New | 660 | Planned | New outage | Unknown | Unknown
Bayswater 2 | Existing | 685 | Unplanned | 43 | 2024-12-08 | 48
Callide B 1 | Existing | 350 | Unplanned | 95 | 2024-11-21 | 31
Callide B 2 | Existing | 350 | Planned | 39 | 2024-10-23 | 2
Eraring 3 | Existing | 720 | Planned | 57 | 2024-11-28 | 38
Gladstone 2 | Existing | 280 | Planned | 7 | 2024-10-21 | 0
Gladstone 5 | Existing | 280 | Planned | 5 | 2024-10-21 | 0
Loy Yang A 4 | Existing | 560 | Planned | 21 | 2024-11-24 | 34
Tarong 1 | Existing | 350 | Planned | 3 | 2024-11-07 | 17
Tarong 2 | Existing | 350 | Planned | 38 | 2024-11-29 | 39
Vales Point B 6 | Existing | 660 | Unplanned | 26 | 2024-11-25 | 35
Yallourn W 4 | Existing | 375 | Planned | 4 | 2024-10-24 | 3
| Total planned | 3925
| Total unplanned | 1695
| Total outages: | 5620
Returning coal units
Coal units returning to service after being offline on 20 October 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable
Loy Yang A 2 | 530 | 3
Yallourn W 2 | 350 | 11