## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 23 October 2024):
24 Oct 2024 | 25 Oct 2024 | 26 Oct 2024 | 27 Oct 2024 | 28 Oct 2024 | 29 Oct 2024 | 30 Oct 2024
3955 | 4305 | 4305 | 5315 | 4965 | 4305 | 4305
Current coal outages
Coal units detected generating no power on 23 October 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 2 | Existing | 685 | Unplanned | 45 | 2024-12-08 | 46
Callide B 1 | Existing | 350 | Unplanned | 97 | 2024-11-21 | 29
Callide B 2 | Existing | 350 | Unclear | 41 | 2024-10-28 | 5
Eraring 3 | Existing | 720 | Planned | 59 | 2024-11-28 | 36
Gladstone 2 | Existing | 280 | Planned | 9 | 2024-11-06 | 14
Gladstone 5 | Existing | 280 | Planned | 7 | 2024-10-27 | 4
Loy Yang A 4 | Existing | 560 | Planned | 23 | 2024-11-24 | 32
Mt Piper 2 | Existing | 660 | Planned | 2 | 2024-10-29 | 6
Tarong 1 | Existing | 350 | Planned | 5 | 2024-11-07 | 15
Tarong 2 | Existing | 350 | Planned | 40 | 2024-11-29 | 37
Vales Point B 6 | Existing | 660 | Unplanned | 28 | 2024-11-25 | 33
Yallourn W 4 | Existing | 375 | Planned | 6 | 2024-10-27 | 4
| Total planned | 3575
| Total unplanned | 1695
| Total outages: | 5620
Returning coal units
Coal units returning to service after being offline on 22 October 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable