## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 25 October 2024):
26 Oct 2024 | 27 Oct 2024 | 28 Oct 2024 | 29 Oct 2024 | 30 Oct 2024 | 31 Oct 2024 | 1 Nov 2024
4305 | 5315 | 5315 | 4655 | 4655 | 4305 | 4305
Current coal outages
Coal units detected generating no power on 25 October 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Gladstone 4 | New | 280 | Unplanned | 1 | 2024-10-27 | 2
Bayswater 2 | Existing | 685 | Unplanned | 47 | 2024-12-08 | 44
Callide B 1 | Existing | 350 | Unplanned | 99 | 2024-11-21 | 27
Callide B 2 | Existing | 350 | Unclear | 43 | 2024-10-31 | 6
Eraring 3 | Existing | 720 | Planned | 61 | 2024-11-28 | 34
Gladstone 2 | Existing | 280 | Planned | 11 | 2024-11-06 | 12
Loy Yang A 4 | Existing | 560 | Planned | 25 | 2024-11-24 | 30
Mt Piper 2 | Existing | 660 | Planned | 4 | 2024-10-29 | 4
Tarong 1 | Existing | 350 | Planned | 7 | 2024-11-07 | 13
Tarong 2 | Existing | 350 | Planned | 42 | 2024-11-29 | 35
Vales Point B 6 | Existing | 660 | Unplanned | 30 | 2024-11-25 | 31
Yallourn W 1 | Existing | 350 | Unplanned | 1 | 2024-11-14 | 20
| Total planned | 2920
| Total unplanned | 2325
| Total outages: | 5595
Returning coal units
Coal units returning to service after being offline on 24 October 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable
Gladstone 5 | 280 | 1
Yallourn W 4 | 375 | 8