## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 28 October 2024):
29 Oct 2024 | 30 Oct 2024 | 31 Oct 2024 | 1 Nov 2024 | 2 Nov 2024 | 3 Nov 2024 | 4 Nov 2024
5595 | 4965 | 4965 | 5049 | 5049 | 5049 | 5469
Current coal outages
Coal units detected generating no power on 28 October 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 2 | Existing | 685 | Unplanned | 50 | 2024-12-08 | 41
Callide B 1 | Existing | 350 | Unplanned | 102 | 2024-11-21 | 24
Callide B 2 | Existing | 350 | Planned | 46 | 2024-10-30 | 2
Eraring 3 | Existing | 720 | Planned | 64 | 2024-11-28 | 31
Gladstone 2 | Existing | 280 | Planned | 14 | 2024-11-08 | 11
Gladstone 4 | Existing | 280 | Unplanned | 4 | 2024-10-28 | 0
Loy Yang A 4 | Existing | 560 | Planned | 28 | 2024-11-24 | 27
Mt Piper 2 | Existing | 660 | Planned | 7 | 2024-11-01 | 4
Tarong 1 | Existing | 350 | Planned | 10 | 2024-11-07 | 10
Tarong 2 | Existing | 350 | Planned | 45 | 2024-11-29 | 32
Vales Point B 6 | Existing | 660 | Unplanned | 33 | 2024-11-25 | 28
Yallourn W 1 | Existing | 350 | Unplanned | 4 | 2024-11-14 | 17
| Total planned | 3270
| Total unplanned | 2325
| Total outages: | 5595
Returning coal units
Coal units returning to service after being offline on 27 October 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable
Bayswater 4 | 685 | 1