## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 29 October 2024):
30 Oct 2024 | 31 Oct 2024 | 1 Nov 2024 | 2 Nov 2024 | 3 Nov 2024 | 4 Nov 2024 | 5 Nov 2024
4965 | 4965 | 5049 | 5049 | 5049 | 5469 | 5049
Current coal outages
Coal units detected generating no power on 29 October 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 2 | Existing | 685 | Unplanned | 51 | 2024-12-08 | 40
Callide B 1 | Existing | 350 | Unplanned | 103 | 2024-12-03 | 35
Callide B 2 | Existing | 350 | Planned | 47 | 2024-11-03 | 5
Eraring 3 | Existing | 720 | Planned | 65 | 2024-11-28 | 30
Gladstone 2 | Existing | 280 | Planned | 15 | 2024-11-08 | 10
Gladstone 4 | Existing | 280 | Unplanned | 5 | 2024-11-03 | 5
Loy Yang A 4 | Existing | 560 | Planned | 29 | 2024-12-05 | 37
Mt Piper 2 | Existing | 660 | Planned | 8 | 2024-11-03 | 5
Tarong 1 | Existing | 350 | Planned | 11 | 2024-11-07 | 9
Tarong 2 | Existing | 350 | Planned | 46 | 2024-11-29 | 31
Vales Point B 6 | Existing | 660 | Unplanned | 34 | 2024-11-25 | 27
Yallourn W 1 | Existing | 350 | Unplanned | 5 | 2024-11-14 | 16
| Total planned | 3270
| Total unplanned | 2325
| Total outages: | 5595
Returning coal units
Coal units returning to service after being offline on 28 October 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable