## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 30 October 2024):
31 Oct 2024 | 1 Nov 2024 | 2 Nov 2024 | 3 Nov 2024 | 4 Nov 2024 | 5 Nov 2024 | 6 Nov 2024
4965 | 5049 | 5049 | 5049 | 5469 | 5049 | 5049
Current coal outages
Coal units detected generating no power on 30 October 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 2 | Existing | 685 | Unplanned | 52 | 2024-12-08 | 39
Callide B 1 | Existing | 350 | Unplanned | 104 | 2024-12-03 | 34
Callide B 2 | Existing | 350 | Unclear | 48 | 2024-11-03 | 4
Eraring 3 | Existing | 720 | Planned | 66 | 2024-11-28 | 29
Gladstone 2 | Existing | 280 | Planned | 16 | 2024-11-08 | 9
Gladstone 4 | Existing | 280 | Unplanned | 6 | 2024-11-03 | 4
Loy Yang A 4 | Existing | 560 | Planned | 30 | 2024-12-05 | 36
Mt Piper 2 | Existing | 660 | Planned | 9 | 2024-11-03 | 4
Tarong 1 | Existing | 350 | Planned | 12 | 2024-11-07 | 8
Tarong 2 | Existing | 350 | Planned | 47 | 2024-11-29 | 30
Vales Point B 6 | Existing | 660 | Unplanned | 35 | 2024-11-25 | 26
Yallourn W 1 | Existing | 350 | Unplanned | 6 | 2024-11-14 | 15
| Total planned | 2920
| Total unplanned | 2325
| Total outages: | 5595
Returning coal units
Coal units returning to service after being offline on 29 October 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable