## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 31 October 2024):
1 Nov 2024 | 2 Nov 2024 | 3 Nov 2024 | 4 Nov 2024 | 5 Nov 2024 | 6 Nov 2024 | 7 Nov 2024
5049 | 5049 | 5049 | 5469 | 5049 | 5049 | 4699
Current coal outages
Coal units detected generating no power on 31 October 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 2 | Existing | 685 | Unplanned | 53 | 2024-12-08 | 38
Callide B 1 | Existing | 350 | Unplanned | 105 | 2024-12-03 | 33
Callide B 2 | Existing | 350 | Unclear | 49 | 2024-11-03 | 3
Eraring 3 | Existing | 720 | Planned | 67 | 2024-11-28 | 28
Gladstone 2 | Existing | 280 | Planned | 17 | 2024-11-15 | 15
Loy Yang A 4 | Existing | 560 | Planned | 31 | 2024-12-05 | 35
Mt Piper 2 | Existing | 660 | Planned | 10 | 2024-11-03 | 3
Tarong 1 | Existing | 350 | Planned | 13 | 2024-11-07 | 7
Tarong 2 | Existing | 350 | Planned | 48 | 2024-11-29 | 29
Vales Point B 6 | Existing | 660 | Unplanned | 36 | 2024-11-25 | 25
Yallourn W 1 | Existing | 350 | Unplanned | 7 | 2024-11-14 | 14
| Total planned | 2920
| Total unplanned | 2045
| Total outages: | 5315
Returning coal units
Coal units returning to service after being offline on 30 October 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable
Gladstone 4 | 280 | 6