## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 1 November 2024):
2 Nov 2024 | 3 Nov 2024 | 4 Nov 2024 | 5 Nov 2024 | 6 Nov 2024 | 7 Nov 2024 | 8 Nov 2024
5049 | 5049 | 5469 | 5049 | 5049 | 4699 | 4699
Current coal outages
Coal units detected generating no power on 1 November 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 2 | Existing | 685 | Unplanned | 54 | 2024-12-08 | 37
Callide B 1 | Existing | 350 | Unplanned | 106 | 2024-12-03 | 32
Callide B 2 | Existing | 350 | Unclear | 50 | 2024-11-03 | 2
Eraring 3 | Existing | 720 | Planned | 68 | 2024-11-28 | 27
Gladstone 2 | Existing | 280 | Planned | 18 | 2024-11-15 | 14
Loy Yang A 4 | Existing | 560 | Planned | 32 | 2024-12-05 | 34
Tarong 1 | Existing | 350 | Planned | 14 | 2024-11-07 | 6
Tarong 2 | Existing | 350 | Planned | 49 | 2024-11-29 | 28
Vales Point B 6 | Existing | 660 | Unplanned | 37 | 2024-11-25 | 24
Yallourn W 1 | Existing | 350 | Unplanned | 8 | 2024-11-14 | 13
| Total planned | 2260
| Total unplanned | 2045
| Total outages: | 4655
Returning coal units
Coal units returning to service after being offline on 31 October 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable
Mt Piper 2 | 660 | 11
Millmerran 2 | 426 | 1