## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 4 November 2024):
5 Nov 2024 | 6 Nov 2024 | 7 Nov 2024 | 8 Nov 2024 | 9 Nov 2024 | 10 Nov 2024 | 11 Nov 2024
5049 | 5049 | 4699 | 4699 | 4699 | 4699 | 4699
Current coal outages
Coal units detected generating no power on 4 November 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 2 | Existing | 685 | Unplanned | 57 | 2024-12-08 | 34
Callide B 1 | Existing | 350 | Unplanned | 109 | 2024-12-03 | 29
Eraring 3 | Existing | 720 | Planned | 71 | 2024-11-28 | 24
Gladstone 2 | Existing | 280 | Planned | 21 | 2024-11-15 | 11
Kogan Creek 1 | Existing | 744 | Planned | 2 | 2024-11-21 | 17
Loy Yang A 4 | Existing | 560 | Planned | 35 | 2024-12-05 | 31
Tarong 1 | Existing | 350 | Planned | 17 | 2024-11-07 | 3
Tarong 2 | Existing | 350 | Planned | 52 | 2024-11-29 | 25
Vales Point B 6 | Existing | 660 | Unplanned | 40 | 2024-11-25 | 21
Yallourn W 1 | Existing | 350 | Unplanned | 11 | 2024-11-14 | 10
| Total planned | 3004
| Total unplanned | 2045
| Total outages: | 5049
Returning coal units
Coal units returning to service after being offline on 3 November 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable