## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 5 November 2024):
6 Nov 2024 | 7 Nov 2024 | 8 Nov 2024 | 9 Nov 2024 | 10 Nov 2024 | 11 Nov 2024 | 12 Nov 2024
5049 | 4699 | 4699 | 4699 | 4699 | 4699 | 4699
Current coal outages
Coal units detected generating no power on 5 November 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Yallourn W 4 | New | 375 | Unplanned | 1 | 2024-11-10 | 5
Bayswater 2 | Existing | 685 | Unplanned | 58 | 2024-12-08 | 33
Callide B 1 | Existing | 350 | Unplanned | 110 | 2024-12-03 | 28
Eraring 3 | Existing | 720 | Planned | 72 | 2024-11-28 | 23
Gladstone 2 | Existing | 280 | Planned | 22 | 2024-11-15 | 10
Kogan Creek 1 | Existing | 744 | Planned | 3 | 2024-11-21 | 16
Loy Yang A 4 | Existing | 560 | Planned | 36 | 2024-12-05 | 30
Tarong 1 | Existing | 350 | Planned | 18 | 2024-11-10 | 5
Tarong 2 | Existing | 350 | Planned | 53 | 2024-11-29 | 24
Vales Point B 5 | Existing | 660 | Unplanned | 1 | 2024-11-10 | 5
Vales Point B 6 | Existing | 660 | Unplanned | 41 | 2024-11-25 | 20
Yallourn W 1 | Existing | 350 | Unplanned | 12 | 2024-11-14 | 9
| Total planned | 3004
| Total unplanned | 3080
| Total outages: | 6084
Returning coal units
Coal units returning to service after being offline on 4 November 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable
Callide C 4 | 420 | 1