## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 6 November 2024):
7 Nov 2024 | 8 Nov 2024 | 9 Nov 2024 | 10 Nov 2024 | 11 Nov 2024 | 12 Nov 2024 | 13 Nov 2024
4699 | 4699 | 4699 | 5049 | 5049 | 5049 | 5049
Current coal outages
Coal units detected generating no power on 6 November 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 2 | Existing | 685 | Unplanned | 59 | 2024-12-08 | 32
Callide B 1 | Existing | 350 | Unplanned | 111 | 2024-12-03 | 27
Eraring 3 | Existing | 720 | Planned | 73 | 2024-11-28 | 22
Gladstone 2 | Existing | 280 | Planned | 23 | 2024-11-15 | 9
Kogan Creek 1 | Existing | 744 | Planned | 4 | 2024-11-21 | 15
Loy Yang A 4 | Existing | 560 | Planned | 37 | 2024-12-05 | 29
Tarong 1 | Existing | 350 | Planned | 19 | 2024-11-17 | 11
Tarong 2 | Existing | 350 | Planned | 54 | 2024-11-29 | 23
Vales Point B 5 | Existing | 660 | Unplanned | 2 | 2024-11-10 | 4
Vales Point B 6 | Existing | 660 | Unplanned | 42 | 2024-11-25 | 19
Yallourn W 1 | Existing | 350 | Unplanned | 13 | 2024-11-14 | 8
Yallourn W 4 | Existing | 375 | Unplanned | 2 | 2024-11-10 | 4
| Total planned | 3004
| Total unplanned | 3080
| Total outages: | 6084
Returning coal units
Coal units returning to service after being offline on 5 November 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable