## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 7 November 2024):
8 Nov 2024 | 9 Nov 2024 | 10 Nov 2024 | 11 Nov 2024 | 12 Nov 2024 | 13 Nov 2024 | 14 Nov 2024
4699 | 4699 | 5049 | 5049 | 5049 | 5049 | 4699
Current coal outages
Coal units detected generating no power on 7 November 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 2 | Existing | 685 | Unplanned | 60 | 2024-12-08 | 31
Callide B 1 | Existing | 350 | Unplanned | 112 | 2024-12-03 | 26
Eraring 3 | Existing | 720 | Planned | 74 | 2024-11-28 | 21
Gladstone 2 | Existing | 280 | Planned | 24 | 2024-11-15 | 8
Kogan Creek 1 | Existing | 744 | Planned | 5 | 2024-11-21 | 14
Loy Yang A 4 | Existing | 560 | Planned | 38 | 2024-12-05 | 28
Tarong 1 | Existing | 350 | Planned | 20 | 2024-11-17 | 10
Tarong 2 | Existing | 350 | Planned | 55 | 2024-11-29 | 22
Vales Point B 5 | Existing | 660 | Unplanned | 3 | 2024-11-10 | 3
Vales Point B 6 | Existing | 660 | Unplanned | 43 | 2024-11-25 | 18
Yallourn W 1 | Existing | 350 | Unplanned | 14 | 2024-11-14 | 7
| Total planned | 3004
| Total unplanned | 2705
| Total outages: | 5709
Returning coal units
Coal units returning to service after being offline on 6 November 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable
Yallourn W 4 | 375 | 2