## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 8 November 2024):
9 Nov 2024 | 10 Nov 2024 | 11 Nov 2024 | 12 Nov 2024 | 13 Nov 2024 | 14 Nov 2024 | 15 Nov 2024
4699 | 5399 | 5399 | 5399 | 5399 | 5049 | 4769
Current coal outages
Coal units detected generating no power on 8 November 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Yallourn W 2 | New | 350 | Planned | 1 | 2024-11-14 | 6
Bayswater 2 | Existing | 685 | Unplanned | 61 | 2024-12-08 | 30
Callide B 1 | Existing | 350 | Unplanned | 113 | 2024-12-03 | 25
Eraring 3 | Existing | 720 | Planned | 75 | 2024-11-28 | 20
Gladstone 2 | Existing | 280 | Planned | 25 | 2024-11-15 | 7
Kogan Creek 1 | Existing | 744 | Planned | 6 | 2024-11-21 | 13
Loy Yang A 4 | Existing | 560 | Planned | 39 | 2024-12-05 | 27
Tarong 1 | Existing | 350 | Planned | 21 | 2024-11-17 | 9
Tarong 2 | Existing | 350 | Planned | 56 | 2024-11-29 | 21
Vales Point B 5 | Existing | 660 | Unplanned | 4 | 2024-11-10 | 2
Vales Point B 6 | Existing | 660 | Unplanned | 44 | 2024-11-25 | 17
Yallourn W 1 | Existing | 350 | Unplanned | 15 | 2024-11-16 | 8
| Total planned | 3354
| Total unplanned | 2705
| Total outages: | 6059
Returning coal units
Coal units returning to service after being offline on 7 November 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable