## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 11 November 2024):
12 Nov 2024 | 13 Nov 2024 | 14 Nov 2024 | 15 Nov 2024 | 16 Nov 2024 | 17 Nov 2024 | 18 Nov 2024
5049 | 5049 | 5049 | 5049 | 4419 | 4069 | 4069
Current coal outages
Coal units detected generating no power on 11 November 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 2 | Existing | 685 | Unplanned | 64 | 2024-12-08 | 27
Eraring 3 | Existing | 720 | Planned | 78 | 2024-11-28 | 17
Gladstone 2 | Existing | 280 | Planned | 28 | 2024-11-16 | 5
Kogan Creek 1 | Existing | 744 | Planned | 9 | 2024-11-21 | 10
Loy Yang A 4 | Existing | 560 | Planned | 42 | 2024-12-05 | 24
Tarong 1 | Existing | 350 | Planned | 24 | 2024-11-17 | 6
Tarong 2 | Existing | 350 | Planned | 59 | 2024-11-29 | 18
Vales Point B 6 | Existing | 660 | Unplanned | 47 | 2024-11-25 | 14
Yallourn W 1 | Existing | 350 | Unplanned | 18 | 2024-11-16 | 5
Yallourn W 2 | Existing | 350 | Unplanned | 4 | 2024-11-11 | 0
| Total planned | 3004
| Total unplanned | 2045
| Total outages: | 5049
Returning coal units
Coal units returning to service after being offline on 10 November 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable