## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 12 November 2024):
13 Nov 2024 | 14 Nov 2024 | 15 Nov 2024 | 16 Nov 2024 | 17 Nov 2024 | 18 Nov 2024 | 19 Nov 2024
5049 | 5049 | 5049 | 4419 | 4069 | 4069 | 4069
Current coal outages
Coal units detected generating no power on 12 November 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 4 | New | 685 | Unclear | New outage | 2024-11-17 | 5
Bayswater 2 | Existing | 685 | Unplanned | 65 | 2024-12-08 | 26
Eraring 3 | Existing | 720 | Planned | 79 | 2024-11-28 | 16
Gladstone 2 | Existing | 280 | Planned | 29 | 2024-11-17 | 5
Kogan Creek 1 | Existing | 744 | Planned | 10 | 2024-11-21 | 9
Loy Yang A 4 | Existing | 560 | Planned | 43 | 2024-12-05 | 23
Tarong 1 | Existing | 350 | Planned | 25 | 2024-11-17 | 5
Tarong 2 | Existing | 350 | Planned | 60 | 2024-11-29 | 17
Vales Point B 6 | Existing | 660 | Unplanned | 48 | 2024-11-25 | 13
Yallourn W 1 | Existing | 350 | Unplanned | 19 | 2024-11-17 | 5
| Total planned | 3004
| Total unplanned | 1695
| Total outages: | 5384
Returning coal units
Coal units returning to service after being offline on 11 November 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable
Yallourn W 2 | 350 | 4