## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 13 November 2024):
14 Nov 2024 | 15 Nov 2024 | 16 Nov 2024 | 17 Nov 2024 | 18 Nov 2024 | 19 Nov 2024 | 20 Nov 2024
5049 | 5049 | 4419 | 4754 | 4754 | 4069 | 4754
Current coal outages
Coal units detected generating no power on 13 November 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Yallourn W 3 | New | 375 | Planned | 1 | 2024-11-17 | 4
Yallourn W 4 | New | 375 | Unplanned | 1 | 2024-11-17 | 4
Bayswater 2 | Existing | 685 | Unplanned | 66 | 2024-12-08 | 25
Bayswater 4 | Existing | 685 | Planned | 1 | 2024-11-19 | 6
Eraring 3 | Existing | 720 | Planned | 80 | 2024-11-28 | 15
Gladstone 2 | Existing | 280 | Planned | 30 | 2024-11-17 | 4
Kogan Creek 1 | Existing | 744 | Planned | 11 | 2024-11-21 | 8
Loy Yang A 4 | Existing | 560 | Planned | 44 | 2024-12-05 | 22
Tarong 1 | Existing | 350 | Planned | 26 | 2024-11-17 | 4
Tarong 2 | Existing | 350 | Planned | 61 | 2024-11-29 | 16
Vales Point B 6 | Existing | 660 | Unplanned | 49 | 2024-11-25 | 12
Yallourn W 1 | Existing | 350 | Unplanned | 20 | 2024-11-17 | 4
| Total planned | 4064
| Total unplanned | 2070
| Total outages: | 6134
Returning coal units
Coal units returning to service after being offline on 12 November 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable
Stanwell 2 | 365 | 1
Yallourn W 2 | 350 | 1