## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 14 November 2024):
15 Nov 2024 | 16 Nov 2024 | 17 Nov 2024 | 18 Nov 2024 | 19 Nov 2024 | 20 Nov 2024 | 21 Nov 2024
5049 | 4419 | 5034 | 5034 | 4349 | 5034 | 4010
Current coal outages
Coal units detected generating no power on 14 November 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Loy Yang A 2 | New | 530 | Unclear | New outage | 2024-11-17 | 3
Bayswater 2 | Existing | 685 | Unplanned | 67 | 2024-12-08 | 24
Bayswater 4 | Existing | 685 | Planned | 2 | 2024-11-19 | 5
Eraring 3 | Existing | 720 | Planned | 81 | 2024-11-28 | 14
Gladstone 2 | Existing | 280 | Planned | 31 | 2024-11-21 | 7
Kogan Creek 1 | Existing | 744 | Planned | 12 | 2024-11-21 | 7
Loy Yang A 4 | Existing | 560 | Planned | 45 | 2024-12-05 | 21
Tarong 1 | Existing | 350 | Planned | 27 | 2024-11-17 | 3
Tarong 2 | Existing | 350 | Planned | 62 | 2024-11-29 | 15
Vales Point B 6 | Existing | 660 | Unplanned | 50 | 2024-11-25 | 11
Yallourn W 1 | Existing | 350 | Unplanned | 21 | 2024-11-17 | 3
Yallourn W 3 | Existing | 375 | Planned | 2 | 2024-11-17 | 3
| Total planned | 4064
| Total unplanned | 1695
| Total outages: | 6289
Returning coal units
Coal units returning to service after being offline on 13 November 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable
Yallourn W 4 | 375 | 1