## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 15 November 2024):
16 Nov 2024 | 17 Nov 2024 | 18 Nov 2024 | 19 Nov 2024 | 20 Nov 2024 | 21 Nov 2024 | 22 Nov 2024
4419 | 5034 | 5034 | 4349 | 5034 | 4010 | 4385
Current coal outages
Coal units detected generating no power on 15 November 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Loy Yang A 2 | New | 530 | Planned | 1 | 2024-11-17 | 2
Yallourn W 1 | New | 350 | Planned | New outage | 2024-11-17 | 2
Bayswater 2 | Existing | 685 | Unplanned | 68 | 2024-12-08 | 23
Bayswater 4 | Existing | 685 | Planned | 3 | 2024-11-19 | 4
Eraring 3 | Existing | 720 | Planned | 82 | 2024-11-28 | 13
Gladstone 2 | Existing | 280 | Planned | 32 | 2024-11-21 | 6
Kogan Creek 1 | Existing | 744 | Planned | 13 | 2024-11-21 | 6
Loy Yang A 4 | Existing | 560 | Planned | 46 | 2024-12-05 | 20
Tarong 1 | Existing | 350 | Planned | 28 | 2024-11-17 | 2
Tarong 2 | Existing | 350 | Planned | 63 | 2024-11-29 | 14
Vales Point B 6 | Existing | 660 | Unplanned | 51 | 2024-11-25 | 10
Yallourn W 3 | Existing | 375 | Planned | 3 | 2024-11-17 | 2
| Total planned | 4944
| Total unplanned | 1345
| Total outages: | 6289
Returning coal units
Coal units returning to service after being offline on 14 November 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable