## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 19 November 2024):
20 Nov 2024 | 21 Nov 2024 | 22 Nov 2024 | 23 Nov 2024 | 24 Nov 2024 | 25 Nov 2024 | 26 Nov 2024
5034 | 4290 | 4665 | 4665 | 4665 | 4665 | 4665
Current coal outages
Coal units detected generating no power on 19 November 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 2 | Existing | 685 | Unplanned | 72 | 2024-12-08 | 19
Bayswater 4 | Existing | 685 | Unplanned | 7 | 2024-11-24 | 5
Eraring 3 | Existing | 720 | Planned | 86 | 2024-11-28 | 9
Gladstone 2 | Existing | 280 | Planned | 36 | 2024-11-24 | 5
Gladstone 5 | Existing | 280 | Unplanned | 4 | 2024-11-29 | 10
Kogan Creek 1 | Existing | 744 | Planned | 17 | 2024-11-24 | 5
Loy Yang A 4 | Existing | 560 | Planned | 50 | 2024-12-05 | 16
Tarong 2 | Existing | 350 | Planned | 67 | 2024-11-29 | 10
Vales Point B 6 | Existing | 660 | Unplanned | 55 | 2024-12-01 | 12
| Total planned | 2654
| Total unplanned | 2310
| Total unclear | 0
| Total outages: | 4964
Returning coal units
Coal units returning to service after being offline on 18 November 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable
Tarong 1 | 350 | 1
Yallourn W 3 | 375 | 7