## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 20 November 2024):
21 Nov 2024 | 22 Nov 2024 | 23 Nov 2024 | 24 Nov 2024 | 25 Nov 2024 | 26 Nov 2024 | 27 Nov 2024
4290 | 4665 | 4665 | 5409 | 4665 | 4665 | 4665
Current coal outages
Coal units detected generating no power on 20 November 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Callide C 3 | New | 424 | Unplanned | New outage | 2024-11-24 | 4
Bayswater 2 | Existing | 685 | Unplanned | 73 | 2024-12-08 | 18
Bayswater 4 | Existing | 685 | Planned | 8 | 2024-11-24 | 4
Eraring 3 | Existing | 720 | Planned | 87 | 2024-11-28 | 8
Gladstone 2 | Existing | 280 | Planned | 37 | 2024-11-24 | 4
Gladstone 5 | Existing | 280 | Planned | 5 | 2024-11-29 | 9
Kogan Creek 1 | Existing | 744 | Planned | 18 | 2024-11-25 | 5
Loy Yang A 4 | Existing | 560 | Planned | 51 | 2024-12-05 | 15
Tarong 2 | Existing | 350 | Planned | 68 | 2024-11-29 | 9
Vales Point B 6 | Existing | 660 | Unplanned | 56 | 2024-12-01 | 11
| Total planned | 3619
| Total unplanned | 1769
| Total outages: | 5388
Returning coal units
Coal units returning to service after being offline on 19 November 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable
Callide C 4 | 420 | 1