## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 21 November 2024):
22 Nov 2024 | 23 Nov 2024 | 24 Nov 2024 | 25 Nov 2024 | 26 Nov 2024 | 27 Nov 2024 | 28 Nov 2024
4665 | 4665 | 5409 | 4665 | 4665 | 4665 | 4475
Current coal outages
Coal units detected generating no power on 21 November 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 3 | New | 685 | Unplanned | New outage | 2024-12-04 | 13
Yallourn W 4 | New | 375 | Unplanned | 1 | 2025-01-24 | 64
Bayswater 2 | Existing | 685 | Unplanned | 74 | 2024-12-08 | 17
Eraring 3 | Existing | 720 | Planned | 88 | 2024-11-28 | 7
Gladstone 5 | Existing | 280 | Unplanned | 6 | 2024-11-29 | 8
Kogan Creek 1 | Existing | 744 | Planned | 19 | 2024-11-25 | 4
Loy Yang A 4 | Existing | 560 | Planned | 52 | 2024-12-05 | 14
Tarong 2 | Existing | 350 | Planned | 69 | 2024-11-29 | 8
Vales Point B 6 | Existing | 660 | Unplanned | 57 | 2024-12-01 | 10
| Total planned | 2374
| Total unplanned | 2685
| Total unclear | 0
| Total outages: | 5059
Returning coal units
Coal units returning to service after being offline on 20 November 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable
Bayswater 4 | 685 | 9
Callide C 3 | 424 | 1
Gladstone 2 | 280 | 38