## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 22 November 2024):
23 Nov 2024 | 24 Nov 2024 | 25 Nov 2024 | 26 Nov 2024 | 27 Nov 2024 | 28 Nov 2024 | 29 Nov 2024
4665 | 5859 | 5859 | 5859 | 5859 | 4925 | 4645
Current coal outages
Coal units detected generating no power on 22 November 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Tarong North 1 | New | 450 | Unclear | 1 | 2024-12-01 | 9
Bayswater 2 | Existing | 685 | Unplanned | 75 | 2024-12-08 | 16
Bayswater 3 | Existing | 685 | Unplanned | 1 | 2024-12-04 | 12
Eraring 3 | Existing | 720 | Planned | 89 | 2024-11-28 | 6
Gladstone 5 | Existing | 280 | Unplanned | 7 | 2024-11-29 | 7
Kogan Creek 1 | Existing | 744 | Planned | 20 | 2024-11-28 | 6
Loy Yang A 4 | Existing | 560 | Planned | 53 | 2024-12-05 | 13
Tarong 2 | Existing | 350 | Planned | 70 | 2024-12-08 | 16
Vales Point B 6 | Existing | 660 | Unplanned | 58 | 2024-12-01 | 9
Yallourn W 4 | Existing | 375 | Unplanned | 2 | 2025-01-24 | 63
| Total planned | 2374
| Total unplanned | 2685
| Total unclear | 450
| Total outages: | 5509
Returning coal units
Coal units returning to service after being offline on 21 November 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable
Callide C 4 | 420 | 1
Gladstone 2 | 280 | 38