## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 25 November 2024):
26 Nov 2024 | 27 Nov 2024 | 28 Nov 2024 | 29 Nov 2024 | 30 Nov 2024 | 1 Dec 2024 | 2 Dec 2024
5859 | 5115 | 4925 | 4645 | 4645 | 3535 | 3535
Current coal outages
Coal units detected generating no power on 25 November 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 2 | Existing | 685 | Unplanned | 78 | 2024-12-08 | 13
Bayswater 3 | Existing | 685 | Unplanned | 4 | 2024-12-04 | 9
Eraring 3 | Existing | 720 | Planned | 92 | 2024-12-01 | 6
Gladstone 5 | Existing | 280 | Unplanned | 10 | 2024-12-01 | 6
Kogan Creek 1 | Existing | 744 | Planned | 23 | 2024-12-01 | 6
Loy Yang A 4 | Existing | 560 | Planned | 56 | 2024-12-05 | 10
Tarong 2 | Existing | 350 | Planned | 73 | 2024-12-08 | 13
Tarong North 1 | Existing | 450 | Unplanned | 4 | 2024-12-01 | 6
Vales Point B 6 | Existing | 660 | Unplanned | 61 | 2024-12-01 | 6
Yallourn W 4 | Existing | 375 | Unplanned | 5 | 2025-01-24 | 60
| Total planned | 2374
| Total unplanned | 3135
| Total unclear | 0
| Total outages: | 5509
Returning coal units
Coal units returning to service after being offline on 24 November 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable
Loy Yang A 2 | 530 | 1