## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 26 November 2024):
27 Nov 2024 | 28 Nov 2024 | 29 Nov 2024 | 30 Nov 2024 | 1 Dec 2024 | 2 Dec 2024 | 3 Dec 2024
5115 | 4925 | 4645 | 4645 | 2850 | 2850 | 2500
Current coal outages
Coal units detected generating no power on 26 November 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 2 | Existing | 685 | Unplanned | 79 | 2024-12-07 | 11
Bayswater 3 | Existing | 685 | Unplanned | 5 | 2024-12-01 | 5
Eraring 3 | Existing | 720 | Planned | 93 | 2024-12-01 | 5
Gladstone 5 | Existing | 280 | Unplanned | 11 | 2024-12-01 | 5
Kogan Creek 1 | Existing | 744 | Planned | 24 | 2024-12-01 | 5
Loy Yang A 4 | Existing | 560 | Planned | 57 | 2024-12-05 | 9
Tarong 2 | Existing | 350 | Planned | 74 | 2024-12-08 | 12
Tarong North 1 | Existing | 450 | Unplanned | 5 | 2024-12-01 | 5
Vales Point B 6 | Existing | 660 | Unplanned | 62 | 2024-12-01 | 5
Yallourn W 4 | Existing | 375 | Unplanned | 6 | 2025-01-24 | 59
| Total planned | 2374
| Total unplanned | 3135
| Total unclear | 0
| Total outages: | 5509
Returning coal units
Coal units returning to service after being offline on 25 November 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable
Callide C 4 | 420 | 1
Stanwell 3 | 365 | 1