## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 28 November 2024):
29 Nov 2024 | 30 Nov 2024 | 1 Dec 2024 | 2 Dec 2024 | 3 Dec 2024 | 4 Dec 2024 | 5 Dec 2024
4645 | 4645 | 2850 | 2850 | 2850 | 2165 | 1605
Current coal outages
Coal units detected generating no power on 28 November 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 2 | Existing | 685 | Unplanned | 81 | 2024-12-04 | 6
Bayswater 3 | Existing | 685 | Unplanned | 7 | 2024-12-01 | 3
Eraring 3 | Existing | 720 | Planned | 95 | 2024-12-01 | 3
Gladstone 5 | Existing | 280 | Unplanned | 13 | 2024-12-01 | 3
Loy Yang A 4 | Existing | 560 | Planned | 59 | 2024-12-05 | 7
Tarong 2 | Existing | 350 | Planned | 76 | 2024-12-08 | 10
Tarong North 1 | Existing | 450 | Unplanned | 7 | 2024-12-01 | 3
Vales Point B 6 | Existing | 660 | Unplanned | 64 | 2024-12-01 | 3
Yallourn W 4 | Existing | 375 | Unplanned | 8 | 2025-01-24 | 57
| Total planned | 1630
| Total unplanned | 3135
| Total unclear | 0
| Total outages: | 4765
Returning coal units
Coal units returning to service after being offline on 27 November 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable