## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 29 November 2024):
30 Nov 2024 | 1 Dec 2024 | 2 Dec 2024 | 3 Dec 2024 | 4 Dec 2024 | 5 Dec 2024 | 6 Dec 2024
4645 | 3130 | 3130 | 3130 | 2445 | 2445 | 2445
Current coal outages
Coal units detected generating no power on 29 November 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Gladstone 6 | New | 280 | Planned | New outage | 2024-12-01 | 2
Bayswater 2 | Existing | 685 | Unplanned | 82 | 2024-12-04 | 5
Bayswater 3 | Existing | 685 | Unplanned | 8 | 2024-12-01 | 2
Eraring 3 | Existing | 720 | Planned | 96 | 2024-12-01 | 2
Gladstone 5 | Existing | 280 | Planned | 14 | 2024-12-07 | 8
Loy Yang A 2 | Existing | 530 | Planned | 1 | 2024-12-11 | 12
Loy Yang A 4 | Existing | 560 | Planned | 60 | 2024-12-09 | 10
Tarong 2 | Existing | 350 | Planned | 77 | 2024-12-08 | 9
Tarong North 1 | Existing | 450 | Unplanned | 8 | 2024-12-01 | 2
Vales Point B 6 | Existing | 660 | Unplanned | 65 | 2024-12-01 | 2
Yallourn W 4 | Existing | 375 | Unplanned | 9 | 2025-01-24 | 56
| Total planned | 2720
| Total unplanned | 2855
| Total unclear | 0
| Total outages: | 5575
Returning coal units
Coal units returning to service after being offline on 28 November 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable