## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 2 December 2024):
3 Dec 2024 | 4 Dec 2024 | 5 Dec 2024 | 6 Dec 2024 | 7 Dec 2024 | 8 Dec 2024 | 9 Dec 2024
3130 | 2445 | 2445 | 2445 | 2165 | 1891 | 1331
Current coal outages
Coal units detected generating no power on 2 December 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 2 | Existing | 685 | Unplanned | 85 | 2024-12-04 | 2
Eraring 3 | Existing | 720 | Planned | 99 | 2024-12-03 | 1
Gladstone 5 | Existing | 280 | Unplanned | 17 | 2024-12-07 | 5
Gladstone 6 | Existing | 280 | Planned | 3 | 2024-12-02 | 0
Loy Yang A 2 | Existing | 530 | Planned | 4 | 2024-12-11 | 9
Loy Yang A 4 | Existing | 560 | Planned | 63 | 2024-12-09 | 7
Tarong 2 | Existing | 350 | Planned | 80 | 2024-12-08 | 6
Vales Point B 6 | Existing | 660 | Unplanned | 68 | 2024-12-03 | 1
Yallourn W 4 | Existing | 375 | Unplanned | 12 | 2025-01-24 | 53
| Total planned | 2440
| Total unplanned | 2000
| Total unclear | 0
| Total outages: | 4440
Returning coal units
Coal units returning to service after being offline on 1 December 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable