## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 3 December 2024):
4 Dec 2024 | 5 Dec 2024 | 6 Dec 2024 | 7 Dec 2024 | 8 Dec 2024 | 9 Dec 2024 | 10 Dec 2024
2445 | 2445 | 2445 | 2165 | 1465 | 905 | 905
Current coal outages
Coal units detected generating no power on 3 December 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 2 | Existing | 685 | Unplanned | 86 | 2024-12-08 | 5
Gladstone 5 | Existing | 280 | Unplanned | 18 | 2024-12-08 | 5
Gladstone 6 | Existing | 280 | Planned | 4 | 2024-12-08 | 5
Loy Yang A 2 | Existing | 530 | Planned | 5 | 2024-12-11 | 8
Loy Yang A 4 | Existing | 560 | Planned | 64 | 2024-12-09 | 6
Tarong 2 | Existing | 350 | Planned | 81 | 2024-12-08 | 5
Yallourn W 4 | Existing | 375 | Unplanned | 13 | 2025-01-24 | 52
| Total planned | 1720
| Total unplanned | 1340
| Total unclear | 0
| Total outages: | 3060
Returning coal units
Coal units returning to service after being offline on 2 December 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable
Eraring 3 | 720 | 100
Vales Point B 6 | 660 | 69