## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 5 December 2024):
6 Dec 2024 | 7 Dec 2024 | 8 Dec 2024 | 9 Dec 2024 | 10 Dec 2024 | 11 Dec 2024 | 12 Dec 2024
2445 | 2165 | 1465 | 905 | 905 | 375 | 375
Current coal outages
Coal units detected generating no power on 5 December 2024:
Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
Bayswater 2 | Existing | 685 | Unplanned | 88 | 2024-12-08 | 3
Callide B 1 | Existing | 350 | Unplanned | 140 | 2024-12-08 | 3
Eraring 3 | Existing | 720 | Unplanned | 2 | 2024-12-08 | 3
Gladstone 5 | Existing | 280 | Unplanned | 20 | 2024-12-08 | 3
Gladstone 6 | Existing | 280 | Planned | 6 | 2024-12-08 | 3
Loy Yang A 2 | Existing | 530 | Planned | 7 | 2024-12-11 | 6
Loy Yang A 4 | Existing | 560 | Planned | 66 | 2024-12-09 | 4
Tarong 2 | Existing | 350 | Planned | 83 | 2024-12-08 | 3
Yallourn W 4 | Existing | 375 | Unplanned | 15 | 2025-01-24 | 50
| Total planned | 1720
| Total unplanned | 2410
| Total unclear | 0
| Total outages: | 4130
Returning coal units
Coal units returning to service after being offline on 4 December 2024:
Unit | Nameplate capacity (MW) | Days unit was unavailable