## Coal outages
Forecast coal outages
Estimated coal generation (in MW) that will be offline based on MTPASA (4am, 21 March 2025):
22 Mar 2025 | 23 Mar 2025 | 24 Mar 2025 | 25 Mar 2025 | 26 Mar 2025 | 27 Mar 2025 | 28 Mar 2025 | 29 Mar 2025 | 30 Mar 2025 | 31 Mar 2025 | 1 Apr 2025 | 2 Apr 2025 | 3 Apr 2025 | 4 Apr 2025 | 5 Apr 2025
1630 | 2260 | 2260 | 2260 | 2260 | 1540 | 1540 | 1540 | 980 | 980 | 1640 | 1640 | 1640 | 2646 | 2296
Current coal outages
Coal units detected generating no power on 21 March 2025:
Region | Unit | New or existing | Nameplate capacity (MW) | Outage type | Days unavailable | Expected return | Days until return
NSW
| Eraring 3 | Existing | 720 | Unplanned | 4 | 2025-03-27 | 6
QLD
| Gladstone 4 | Existing | 280 | Unplanned | 6 | 2025-04-26 | 36
| Tarong 2 | Existing | 350 | Planned | 2 | 2025-04-01 | 11
VIC
| Yallourn W 2 | New | 350 | Planned | 1 | 2025-04-05 | 15
| Loy Yang A 1 | Existing | 560 | Planned | 5 | 2025-03-30 | 9
| Total planned | 1260
| Total unplanned | 1000
| Total unclear | 0
| Total outages: | 2260
Returning coal units
Coal units returning to service after being offline on 20 March 2025:
Unit | Nameplate capacity (MW) | Days unit was unavailable